# Appendix 8

# ISO Standards related to Healthcare Domain

Chapter 10 makes reference to this Appendix. In this appendix, the ISO Standards related to the Healthcare sector are listed and explained briefly, to serve as a ready reckoner to the readers of this book. They can obtain the said Standards when the need arises for their use in consulting work or for other similar purposes. Additional resources are mentioned at the end of this appendix.

ISO 9001:2000 certification is a reassurance to the patients that their treatment plan is as per internationally recognized and WHO (World Health Organization) accepted standard protocols.

In this context we just mentioned that Manipal Hospital in Bangalore has become India’s first multi-specialty hospital to achieve ISO 9001:2000 certification of its clinical protocols, nursing care, laboratory and pharmacy, and administration, according to certification body TÜV Rhineland (India) Ltd.

## The security of healthcare system and privacy of personal health data/information has been emphasized in this book; from this perspective, readers are to note some of the Standards mentioned below – they are designed especially for the data privacy and security aspect of healthcare industry’s valuable information that needs to be guarded. Also be aware, while going through this document, about the security requirements of EHR Systems, IoT connected medical devices as well as personal health devices about whose security issues this book discusses.

## ISO 9000 for Healthcare

ISO 9000 certification processes typically cover all aspects of a medical institution's operating activities. These include inpatient care management, general operating and administrative procedures, manufacturing methodologies and medical product quality assurance. ISO 9000 is a group of quality management system standards that the International Organization for Standardization sets and administers. The organization reviews the operating activities of health care institutions and certifies corporate processes if these institutions abide by ISO 9000 requirements. The significance of this ISO 9000 Standard is that it is a key parameter in quality assurance programs in health care institutions, according to the International Organization for Standardization. The standard is not only a mark of quality, but also an improved set of operating processes.

ISO 10761_HL-7

Section of Chapter 10 is about HL7 (Health Level 7) – in that context this Standard is to be noted.  The HL7 EHR System Functional Model provides a reference list of functions that may be present in an Electronic Health Record System (EHR-S). The function list is described from a user perspective with the intent to enable consistent expression of system functionality. This EHR-S Functional Model, through the creation of Functional Profiles for care settings and realms, enables a standardized description and common understanding of functions sought or available in a given setting (e.g. intensive care, cardiology, office practice in one country or primary care in another country). The EHR-S Functional Model supports research needs by ensuring that the data available to researchers follow the required protocols for privacy, confidentiality, and security. The diversity of research needs precludes the specific listing of functions that are potentially useful for research. It is to be noted that this Functional Model is not:

- a messaging specification;

- an implementation specification;

- a conformance specification;

- an EHR specification;

- a conformance or conformance testing metric;

- an exercise in creating a definition for an EHR or EHR-S.

It is equally important to be aware that the EHR-S Function Model does not include a discussion of clinical processes or the interaction of the healthcare actors. However, ISO 13940 is an international standard that does outline key principles and processes in the provision of healthcare. Users of the EHR-S FM can refer to ISO 13940 for clinical processes that EHR systems support.

ISO 27932

ISO 27932:2009 covers the standardization of clinical documents for exchange. The HL7 Clinical Document Architecture (CDA) is a document markup standard that specifies the structure and semantics of clinical documents for the purpose of exchange. From the perspective of CDA, the CCR is a standardized data set that can be used to constrain CDA specifically for summary documents.

The HL7 Clinical Document Architecture (CDA) is an XML-based markup standard intended to specify the encoding, structure and semantics of clinical documents for exchange.

ISO/IEC 11179

ISO/IEC 11179 consists of the following parts, under the general title Information technology — Metadata registries (MDR):

- Part 1: Framework

Part 2: Classification

Part 3: Registry meta-model and basic attributes

Part 4: Formulation of data definitions

Part 5: Naming and identification principles

- Part 6: Registration

The basic idea behind creating this model relates to exchange of health data and interoperability among healthcare systems; the concept is explained in section 3.3 of Chapter 3. Electronic data interchange and data processing has a heavy dependence accurate, reliable, controllable and verifiable data recorded in databases. Recall the problem of data quality in healthcare domain, explained in section 6.6 of Chapter 6. Moreover terminologies are very specific and important in healthcare domain. Therefore, a prerequisite for correct and proper use and interpretation of data is that both users and owners of data have a common understanding of the meaning and representation of the data. To facilitate this common understanding, a number of characteristics, or attributes, of the data have to be defined. These characteristics of data are known as “metadata”, that is, “data that describes data”.

Part 3 of the Standard is known as INFORMATION TECHNOLOGY - METADATA REGISTRIES (MDR) -- PART 3: REGISTRY METAMODEL AND BASIC ATTRIBUTES and this ISO/IEC 11179-3:2013 specifies the structure of a metadata registry in the form of a conceptual data model. Thus, this part of ISO/IEC 11179 provides for the attributes of data elements and associated metadata to be specified and registered as metadata items in a metadata registry (MDR).

Although the model diagrams are presented in UML notation, ISO/IEC 11179-3:2013 does not assume nor endorse any specific system environment, database management system, database design paradigm, system development methodology, data definition language, command language, system interface, user interface, computing platform, or any technology required for implementation. ISO/IEC 11179-3:2013 does not directly apply to the actual use of data in communications and information processing systems.

ISO/IEC 11179-3:2013 specifies basic attributes which are required to describe metadata items, and which might be used in situations where a complete metadata registry is not appropriate (e.g. in the specification of other International Standards).

ISO 13940

It is for Continuity-of-Care System-of-Concepts and Glossary. It covers actors (in healthcare domain), health Issues, situations, processes, healthcare planning, activity details responsibility, health data management.

ISO 32000-1:2008

This is meant for document management and it specifies the digital form for presenting documents in the format called PDF (portable document format). The idea is to enable users to exchange and view electronic documents (refer to Chapter 4 where EHR and EMR is addressed) independent of the environment in which they were created. This Standard is useful for software developers who do their work for healthcare sector.

The ISO/EN 13606 Standard

Chapter 4 presented the topic Electronic Health Records (EHR) and Electronic Medical Record (EMR). In that context, the standardization of Electronic Health Records (EHR) is a crucial factor for ensuring interoperable sharing of health data. In the past few decades, a multitude of initiatives have been driven by international organizations and doing this has resulted in defining the required models describing the exchange of information between EHRs. These models mention various essential characteristics for building interoperable EHRs, such as architecture, methodology, communication, safety or terminology, among others. It is to be noted that the European reference frame for the standardized exchange of EHR is the recently approved ISO/EN 13606 standard. This standard has multi-part and provides the syntactic and semantic capabilities (through a dual model approach) as well as terminology, security and interface considerations for the standardized exchange of EHR.

ELECTRONIC HEALTH RECORDS AND STANDARDIZATION

There are many definitions of Electronic Health Records (EHR), but a broadly accepted one is that of the Health Information Management Systems Society (HIMSS): Health records are longitudinal records of patient health information generated by one or more encounters in any care delivery setting. Included in this information are patient demographics, progress notes, problems, medications, vital signs, past medical history, immunizations, laboratory data and radiology reports.

The complete document on this standard ISO13606-1 (First edition 2008-02-15) Health informatics - Electronic health record communication - Part 1: Reference model, is provided in Appendix 9.

ISO 13940:2015

This Standard relates to Health informatics - System of concepts to support ‘continuity of care’. Remember that CCD (Continuity of Care Document is mentioned in the vignette ‘Continuity of Care Record (CCR)’ in Chapter 3 and in the introduction to Chapter 4, there is a mention of continuity of care. The purpose of this International Standard is to define the generic concepts needed to achieve continuity of care. Continuity of care is an important aspect of quality and safety in healthcare and semantic interoperability is a basic requirement for continuity of care. The general aim of this International Standard is to provide a comprehensive, conceptual basis for the content and context in healthcare services.

ISO/IEC 14496-1

This Standard is ‘Information technology-Coding of audio-visual objects - Part 1: Systems’. We understand from Chapter 3 that healthcare these days involves use of IT (information technology system).  PACS (picture archive and communications system) is used in hospitals (see Figure 4.15 of Chapter 4). In that context, it is interesting to know that ISO/IEC 14496 specifies a system for the communication of interactive audio-visual scenes. Therefore, this part of ISO/IEC 14496 specifies the following tools:

- A terminal model for time and buffer management;

- A coded representation of metadata for the identification, description and logical dependencies of the elementary streams (object descriptors and other descriptors);

- A coded representation of descriptive audio-visual content information (object content information – OCI);

- An interface to intellectual property management and protection (IPMP) systems;

- A coded representation of synchronization information (sync layer – SL); and

- A multiplexed representation of individual elementary streams in a single stream (M4Mux).

Functionally these various elements are described in and specified in the normative clauses that are contained in this Standard.

## ISO 17090

## This standard concerns the IT-coding of audio-visual objects-Systems. Part 1 is ‘Information Technology-Coding of audio-visual objects-Systems’.

## (1) Reducing Cost, (2) Improving Quality of healthcare services and (3) Extending the Access to healthcare services are the three-fold challenges to healthcare sector worldwide – this was mentioned in Chapter 1. At the same time, new models of healthcare service delivery necessitate the need for patient information to be shared among relevant stakeholders in the healthcare domain. Healthcare information of individuals is often exchanged/shared in electronic format. The use of the Internet is an insecure format when such information is transmitted in an un-encrypted form. Threats to security of healthcare information are many, when it is accessed without authorization; inadvertent or deliberate. This aspect is explained in Chapter 5 – section 5.6. In that context, this part of the Standard defines the basic concepts underlying ‘digital certificates’ and PKI (public key infrastructure – refer to section 10.5.5 of Chapter 10). This is the context for ISO 17090-Part 1.

Part 2 of this Standard is concerned with the (Digital) Certificate Profile and Part 3 of the Standard is about Policy Management of (Digital) Certification Authority. Part 4 of this Standard addresses ‘Digital Signatures for Healthcare Documents’.

## ISO 18308

This document is about the requirements for the electronic health record reference architecture (see Figure 1) – refer to Appendix 6 to understand the FIPs i.e. Fair Information Practices mentioned in Figure 1.

It describes the compliance of the openEHR architecture to the draft ISO TC 215 Technical Specification ISO/WD 18308, “Requirements for an Electronic Health Record Reference Architecture”.

The intended audience includes: (1) Standards bodies producing health informatics standards (2) Software development groups using openEHR (3) Academic groups using openEHR and (4) the open source healthcare community.

## Figure 1 – EHR Record Architecture: the requirements

## See section 10.5.6 of Chapter 10 regarding information on this Standard.

ISO 19005

This standard is concerned with Document management – Electronic document file format for long-term preservation and its Part I is about the use of Use of PDF 1.4 (PDF/A-1). PDF is a digital format for representing documents. PDF files may be created natively in PDF form, converted from other electronic formats or digitized from paper, microform, or other hard copy format. A secondary purpose of ISO 19005 is to define a framework for representing the logical structure and other semantic information of electronic documents within conforming files. Another purpose of ISO acc is to provide a framework for recording the context and history of electronic documents in metadata within conforming files.

The need for this standard arises, given that by itself, PDF/A does not necessarily ensure that the visual appearance of the content accurately reflects any original source material used to create the conforming file; e.g. the process used to create a conforming file might substitute fonts, reflow text, download sample images or use lossy compression i.e. loss of pixels in the process of document compression. Given that at times reports generated by healthcare organizations involve images that are subject to interpretation by concerned agencies, the specifications laid down in this standard become important. Organizations that need to ensure that a conforming file is an accurate representation of original source material may need to impose additional requirements on the processes that generate the conforming file beyond those imposed by this part of ISO 19005.

Although part I of ISO 19005 Standard specifies how to use the Portable Document Format (PDF) 1.4 for long-term preservation of electronic documents. It is applicable to documents containing combinations of character, raster and vector data, it does not apply to the following:

- Specific processes for converting paper or electronic documents to the PDF/A format;

- Specific technical design, user interface, implementation, or operational details of rendering;

- Specific physical methods of storing these documents such as media and storage conditions;

- Computer hardware and/or operating systems required.

ISO 21090

This International Standard ⎯ provides a set of datatype definitions for representing and exchanging basic concepts that are commonly encountered in healthcare environments in support of information exchange in the healthcare environment. The Standard also specifies a collection of healthcare-related datatypes suitable for use in a number of health-related information environments. It declares the semantics of these datatypes using the terminology, notations and datatypes defined in ISO/IEC 11404, thus extending the set of datatypes defined in that standard and it also provides UML definitions of the same datatypes using the terminology, notation and types defined in Unified Modelling Language (UML) version 2.0. The Standard also specifies an XML (Extensible Mark-up Language) based representation of the datatypes.

ISO TS 22220

This Technical Specification indicates the data elements and structure suited to accurate and procedurally appropriate and sensitive identification of individuals in health care in a face-to-face setting supported by computer technology, or through interactions between computer systems. It provides guidelines for improving the positive identification of subjects of care within and between health care organizations. It defines demographic and other identifying data elements suited to capturing subject of care identification in health care settings, and the wide variety of manual and computer enhanced procedures used for this process.

This Technical Specification provides guidance on the application of these procedures in the manual and the computer environment and makes recommendations about the nature and form of health care identifiers, the management organization to oversee subject of care identification and computer support to be provided for the identification process. There are additional factors to be considered in providing access to distributed subject of care data, including privacy, security and data transfer mechanisms; these are outside the scope of this Technical Specification.

The objective of this Technical Specification is to promote uniform good practice in: a) identifying individuals in a face-to-face, or paper-based environment, as well as in and between automated systems; b) recording and reporting of subject of care identifying data; c) ensuring that data being associated with any given subject of care, and upon which clinical communication and data aggregation are based, are appropriately associated with that individual or organization and no other. It is envisaged that this Technical Specification will be used by health and health-related establishments that create, use or maintain records on subjects of care. It can be used, where appropriate, for collecting data when registering subjects of care or potential subjects of care and when reporting patient information to other systems, clinical and administrative.

ISO 22600

This Standard concerns Health informatics Privilege management and access control and its Part 1 i.e.  ISO 22600-1 is concerned with Overview and policy management. Policy management deals with a number of important aspects related to healthcare.  Some of the important ones are listed below:

Patient consent

Patient Privacy

Information: identification, location and integrity

Security and Authorization

Authentication of users and roles

Access

Risk analysis

Continuity and disaster management

ISO/IEEE 11073 Personal Health Data (PHD) Standards

These Standards are a group of standards addressing the interoperability of personal health devices (PHDs) such as weighing scales, blood pressure monitors, blood glucose monitors and the like. The standards draw upon earlier IEEE11073 standards work, but differ from this earlier work due to an emphasis on devices for personal use (rather than hospital use) and a simpler communications model. There is some background for evolving these standards and they are ‘demographic changes. Demographics changes (the rapidly aging population in many industrialized countries) and an increase in chronic diseases (such as diabetes and heart disease) has led many to ask how technology can be used to ease the burden on health care professionals and provide useful tools to the elderly and infirm – and in particular how technology can help people cope with their conditions within their own homes. This is leading to the development of "personal health devices" which allow people to monitor their own conditions within their own homes and provide the information that such devices obtain to health care professionals and other careers.

ISO 27002

This Standard is known as Information technology – Security techniques - Code of practice for information security management.

Security controls are safeguards or countermeasures to avoid, counteract or minimize security risks related to personal property, or computer software. The standard contains 14 security control clauses, collectively containing a total of 35 main security categories and 114 controls.

ISO/IEC 27002 is organized into the following main clauses:

- Clause 5: Information Security Policies

- Clause 6: Organization of Information Security

- Clause 7: Human Resource Security

- Clause 8: Asset Management

- Clause 9: Access Control

- Clause 10: Cryptography

- Clause 11: Physical and Environmental Security

- Clause 12: Operations Security

- Clause 13: Communication Security

- Clause 14: System Acquisition, Development and Maintenance

- Clause 15: Supplier Relationships

- Clause 16: Information Security Incident Management

- Clause 17: Information Security Aspects of Business Continuity Management

- Clause 18: Compliance

The Standard explains the importance of ‘Security’ in the following text:

Information and the supporting processes, systems, and networks are important business assets. Defining, achieving, maintaining, and improving information security may be essential to maintain competitive edge, cash flow, profitability, legal compliance, and commercial image. Organizations and their information systems and networks are faced with security threats from a wide range of sources, including computer-assisted fraud, espionage, sabotage, vandalism, fire or flood. Common causes of damage, such as malicious code, computer hacking, and denial of service (DoS) attacks, have become more, more ambitious, and increasingly sophisticated.

ISO 27789

This Standard is ‘Health Informatics – Audit trails for EHRs’ (electronic health records). It specifies a common framework for audit trails for electronic health records in terms of audit trigger events and audit data, to keep the complete set of personal health information auditable across information systems and domains. It is applicable to systems that process PHI i.e. personal health information which, in compliance with ISO 27799 (see the information in the next section), create a secure audit record each time a user accesses, creates, updates or archives PHI via HIS (health information system). However, this Standard covers only actions performed on the EHR which are governed by the access policy for the domain where the electronic health record resides. It does not deal with any PHI (personal health information) from the EHR other than ‘identifiers’ in that the audit record only contains links to EHR segments as defined by the prevailing access policy in governance.

## Note: the set of - 18 individually identifiable health information, is listed in section 5.5 of Chapter 5 – the name of that section is ‘Protected/Personal Health Information (PHI) and its Importance’.

# ISO/TS 14441

ISO/TS 14441:2013 Standard examines electronic patient record systems at the clinical point of care that are also interoperable with EHRs. ISO/TS 14441:2013 addresses their security and privacy protections by providing a set of security and privacy requirements, along with guidelines and best practice for conformity assessment.

ISO/TS 14441:2013 includes a cross-mapping of 82 security and privacy requirements against the Common Criteria categories in ISO/IEC 15408 (all parts). The Technical Specification of this Standard is available at https://www.sis.se/api/document/preview/916854/ (accessed on 13th November 2019). Explained in different words, it is about the Security and Privacy Requirements of EHR systems for use in conformity assessments. It examines electronic patient record systems that are used at the clinical PoC (point of care) where interaction with EHRs (electronic health records – the topic of Chapter 4 of this book) is involved. However, hardware and ‘process controls’ are not within the scope of this Standard.

# ISO/TS 14441 Specification addresses the security and privacy protection of EHRs by providing a set of security and privacy requirements, along with guidelines and best practice for conformity assessment.

ISO 27799

ISO 27799:2016 gives guidelines for organizational information security standards and information security management practices including the selection, implementation and management of controls taking into consideration the organization's information security risk environment(s). It defines guidelines to support the interpretation and implementation in health informatics of ISO/IEC 27002 and is a companion to that International Standard.

ISO 27799:2016 provides implementation guidance for the controls described in ISO/IEC 27002 and supplements them where necessary, so that they can be effectively used for managing health information security. By implementing ISO 27799:2016, healthcare organizations and other custodians of health information will be able to ensure a minimum requisite level of security that is appropriate to their organization's circumstances and that will maintain the confidentiality, integrity and availability of personal health information in their care.

The Standard applies to health information in all its aspects, whatever form the information takes (words and numbers, sound recordings, drawings, video, and medical images), whatever means are used to store it (printing or writing on paper or storage electronically), and whatever means are used to transmit it (by hand, through fax, over computer networks, or by post), as the information is always be appropriately protected.

ISO 27799:2016 and ISO/IEC 27002 taken together define what is required in terms of information security in healthcare; they do not define how these requirements are to be met. That is to say, to the fullest extent possible, ISO 27799:2016 is technology-neutral. Neutrality with respect to implementing technologies is an important feature. Security technology is still undergoing rapid development and the pace of that change is now measured in months rather than years. By contrast, while subject to periodic review, International Standards are expected on the whole to remain valid for years. Just as importantly, technological neutrality leaves vendors and service providers free to suggest new or developing technologies that meet the necessary requirements that ISO 27799:2016 describes.

Familiarity with ISO/IEC 27002 is indispensable to an understanding of ISO 27799:2016. Note, however, that the following areas of information security not within the scope of ISO 27799:2016:

- methodologies and statistical tests for effective Anonimization of personal health information;

- b) methodologies for pseudonymization of personal health information (see Bibliography for a brief description of a Technical Specification that deals specifically with this topic);

- c) network quality of service and methods for measuring availability of networks used for health informatics;

- d) data quality (as distinct from data integrity).

Disclaimer

The information provided in the appendix is only a brief capsule about the various ISO and related standards applicable to healthcare domain. By no means it is claimed or stated directly, indirectly, explicitly or inexplicitly that this appendix covers the Standards. Nor the author claims this is list to be complete and exhaustive. As at the time of compiling this list some Standards may have undergone revision or new standards may have emerged. It is user’s responsibility to obtain professional/technical advice for application of the Standards mentioned in this compilation.

Those who wish to obtain the complete text of the Standards mentioned here, need to consult their auditing organization or they can seek external consulting help.

## Resources for additional information

ISO 9000 Standard: a presentation on this standard is available at the URL quoted below (accessed 12th August 2019) https://www.slideshare.net/Jinsongeorge123/iso-9000-standards-for-hospitals

ISO 9000 STANDARDS FOR HOSPITALS – another presentation is available to view at the URL below

https://www.slideshare.net/Jinsongeorge123/iso-9000-standards-for-hospitals (accessed 10th October 2018)

## Checklist for Standard ISO/IEC 27002:2013 Information Security Code of Practice – visit the URL quoted below (accessed 12th August 2019) https://www.complianceonline.com/images/supportpages/500121/prod91_pre.pdf

Learn about ISO EN 13606 TECHNICAL REVISION by visiting the URL quoted below (accessed 8th June 2018)

http://www.semantichealthnet.eu/SemanticHealthNet/assets/File/EN%20ISO%2013606%20revision%20-%20for%20SHN%20CIMI.PDF

Health informatics - System of concepts to support continuity of care (ISO 13940:2015) -

https://infostore.saiglobal.com/preview/98706409961.pdf?sku=879525_SAIG_NSAI_NSAI_2089823

openEHR Architecture Architecture Overview – is available at the URL quoted below https://specifications.openehr.org/releases/1.0.2/architecture/overview.pdf (accessed 12th August 2019)

Design of the openEHR EHR – this technical document is available at - https://specifications.openehr.org/releases/1.0.2/html/architecture/overview/Output/design_of_ehr.html (accessed 12th August 2019)

# Electronic Health Record Standards for India

# http://vikaspedia.in/health/nrhm/national-health-policies/electronic-health-record-standards-for-india?content=large

# ISO/IEEE 11073 Personal Health Device (X73-PHD) Standards Compliant Systems: A Systematic Literature Review – see the URL below accessed 13th November 2019

https://www.researchgate.net/publication/329662914_ISOIEEE_11073_Personal_Health_Device_X73-PHD_Standards_Compliant_Systems_A_Systematic_Literature_Review

P11073-10428 - Health Informatics - Personal Health Device Communication - Device Specialization - Electronic Stethoscope – see the URL below accessed 13th November 2019

https://standards.ieee.org/project/11073-10428.html

ISO/TS 14441 (Health Informatics) Technical Specification for Security and Privacy Requirements of EHR systems for use in conformity assessments – see the URL below accessed 13th November 2019

https://www.sis.se/api/document/preview/916854/

Remote Cards of Patient-The Personal Health Devices Standard-ISO/IEEE 11073-20601 – see the URL below accessed 13th November 2019

https://healthmanagement.org/c/hospital/issuearticle/remote-cards-of-patient-the-personal-health-devices-standard-iso-ieee-11073-20601

Health Informatics — HL7 Electronic Health Records-System Functional Model, Release 2 (EHR FM) - https://www.iso.org/obp/ui/#iso:std:iso-hl7:10781:ed-2:v1:en (accessed 13th November 2019)